BME Class (Lecture 12 – Data Analysis)
October 5, 2004


Lecture #12 - Data Analysis

DATA ANALYSIS

A.  Techniques

1. Time Domain - beat-to-beat analysis, measure morphological (shape) waveform features (i.e. mean-systolic-diastolic pressure, heart rate, stroke volume, cardiac output, heart rate, etc.)

***HEART program demonstration (please read manuscript posted on website)

2. Pressure –Volume Loops

[image: image1.wmf]
Figure 12-1.
The left ventricular pressure-volume (PV) relationship provides an alternative approach for assessing cardiac function.  Recall, a single PV loop represents one complete cardiac cycle.  Pmax = maximum isovolumic pressure; Pes = end-systolic pressure; Ped = end-diastolic pressure; Ves = end-systolic volume; Ved = end-diastolic volume; SV = stroke volume [SV = Ved – Ves]; Vo = volume when LVP = 0; Ees = end-systolic elastance [Ees = (Pes – Ped) ( SV]; and EW = external work [EW ~ SV ( (Pes – Ped)].

[image: image21.png]


3.  Frequency Domain – Fourier analysis (magnitude and phase)

[image: image22.png]



Figure 12-2.
Illustration of Fourier series (frequency-based) construction of a waveform.

[image: image23.png]§632





Figure 12-3.
Illustration of Fourier series (frequency-based) representation of an aortic flow waveform.

[image: image24.jpg]Porcine

14

N | - =
4 4 o3 E
& = H
BHww - goy uwr] - 4oy saalfiap - aseyy

sninpous - spnyuBely

Frequency - Hz




Figure 12-4.
Systemic input impedance (magnitude and phase) from aortic pressure and flow measurements.

Uncertainty Analysis

1.  Taylor Series

[image: image25.jpg]Human

35

25
25

15
Time - sec
15
Time - sec

Frequency - Hz

05
05

100

BHww - 4oy ] - 4oy snjnpow - apniufeyy saaifiap - aseyy

200

12

10

Frequency - Hz

200



f{(x1 + (x1), (x2 + (x2), … (xn + (xn)}

Equation 1

f(x1, x2, … xn) + (x1((f/(x1) + (x2((f/(x2) + … + (xn((f/(xn)

Equation 2

We define our variables as xn and our variation or ‘uncertainty’ in xn as (xn.

Let us now define (xn = un

The maiximum uncertainty is defined as,


[image: image2.wmf](

)

(

)

n

2

1

x

n

x

2

x

1

f

x

,

x

,

x

f

u

x

,

u

x

,

u

x

f

u

n

2

1

×

×

×

-

±

×

×

×

±

±

=



Equation 3


[image: image3.wmf]þ

ý

ü

î

í

ì

¶

¶

+

×

×

×

+

¶

¶

+

¶

¶

£

n

n

2

2

1

1

f

x

f

u

x

f

u

x

f

u

u




Equation 4

The probable uncertainty can then be defined as,


[image: image4.wmf]2

n

x

2

2

x

2

1

x

f

x

f

u

x

f

u

x

f

u

u

n

2

1

÷

÷

ø

ö

ç

ç

è

æ

¶

¶

+

×

×

×

+

÷

÷

ø

ö

ç

ç

è

æ

¶

¶

+

÷

÷

ø

ö

ç

ç

è

æ

¶

¶

=



Equation 5


[image: image5.wmf]
Example-1

Given the equation Q = k(P1 – P2), where we have measured Q, P1, and P2 and need to solve for k.


[image: image6.wmf]ΔP

Q

P

P

Q

k

2

1

=

-

=



 EMBED Equation.3  [image: image7.wmf]
Equation 1.1


[image: image8.wmf]P

k

u

Q

k

u

u

P

Q

k

¶

¶

+

¶

¶

=


Equation 1.2

Solving for the uncertainty for (P, 


[image: image9.wmf]2

P2

1

P

ΔP

P

k

u

P

k

u

u

1

¶

¶

+

¶

¶

=


Equation 1.3

We measure P1 = 95 mmHg, P2 = 80 mmHg, and Z = 3 L/min.  Assuming we know the resolution of our pressure (P1 and P2) and flow (Q) measurements are P1=P2=1 mmHg and Q = 0.5 L/min.


[image: image10.wmf]2

1

P

P

ΔP

u

u

u

+

=

   , u(P = 2 mmHg
Equation 1.4


[image: image11.wmf]0.026

0.033

225

3

2

15

1

0.5

ΔP

Q

2

ΔP

1

u

u

2

P

k

1

+

=

÷

ø

ö

ç

è

æ

+

÷

ø

ö

ç

è

æ

=

+

=

, uk = 0.059 L/min/mmHg
Equation 1.5

Thus, k = 3/15 ( uk.  k = 0.2 ( 0.06 L/min/mmHg.

Example-2 

Calculate the compliance of a tube (shown below) of length ‘L’ and diameter ‘d’ as well as the uncertainty in the calculation.  Given a graduated syringe used to inject saline into a tube.  The tube has a least count of 0.1 cc.  We can measure the pressure within the tube with a solid state pressure transducer that has been calibrated to read to within (1 mmHg.  The tube without any saline injected has an internal pressure, Pi = 60 mmHg, and volume, Vi = 10 cc.  When injected with saline, the internal pressure, Ps = 70 mmHg, and volume, Vs = 20 cc.






From previous lectures, we know that compliance is defined as a change in volume divided by a change in pressure.


[image: image12.wmf]ΔP

ΔV

Δpressure

Δvolume

C

=

=


Equation 2.1

The uncertainty in the compliance is then defined as,


[image: image13.wmf]ΔP

C

u

ΔV

C

u

u

ΔP

Δv

c

¶

¶

+

¶

¶

=


Equation 2.2


[image: image14.wmf]ΔP

1

ΔV

C

=

¶

¶

     and  
[image: image15.wmf]

 EMBED Equation.3  [image: image16.wmf]2

ΔP

V

-

ΔP

C

D

=

¶

¶


Equation 2.3

Recall, (V = 10 cc, (P = 10 mmHg, u(V = 0.1 cc, and u(P = 2 mmHg.

Then,


[image: image17.wmf]10

1

ΔV

C

=

¶

¶



 EMBED Equation.3  [image: image18.wmf]and  
[image: image19.wmf]10

1

100

10

ΔP

C

=

=

¶

¶


Equation 2.4

Then, the uncertainty in our compliance calculation (uc) becomes,


[image: image20.wmf]10

1

2

10

1

0.1

u

c

+

=

   or   uc = 0.21 cc/mmHg
Equation 2.5

Solving for our compliance,

C = 1 ( 0.21 cc/mmHg

Assignment #12:

1. Using the five patient data files (001-005), plot AoP, AoF, and magnitude and phase modulus (i.e. same as Figure 12-4) for each patient.  Describe differences in magnitude and phase data for each patient relative to the normal patient data.

2. Using the magnitude modulus data, determine the systemic vasculature resistance (R) and compare to the clinical calculation (= mean AoP ( CO).  Given the measurement error for mean AoP = (1 mmHg and CO = (0.5 L/min, derive the equations and calculate the uncertainty error for R.

*Assignment #12 due in secretaries office by Tuesday, October 12, 2004

Ped





Pes





Ved





SV





Vo





Pmax





Ees





Left Ventricular Pressure





d





syringe





L





 Left Ventricular Volume





Ves





EW








16
1

_1031477060.unknown

_1031478952.unknown

_1031479046.unknown

_1031479226.unknown

_1031479352.unknown

_1031479467.unknown

_1031479319.unknown

_1031479054.unknown

_1031479037.unknown

_1031477809.unknown

_1031478753.unknown

_1031477664.unknown

_1031476642.unknown

_1031476818.unknown

_1031477045.unknown

_1031476809.unknown

_1031476416.unknown

_1031476438.unknown

_1031474920.unknown

_1031476399.unknown

